Micro-Generation Connection Application

Distribution System

For Connection of Micro-Generation Facilities of ≤ 10 kW

This form is applicable to individual or multiple generating units at the Customer’s facility with total nameplate rating of 10 kW or less. Your generation facility must generate electricity from a renewable energy source that is wind, water, solar radiation, or agricultural biomass.

Inverter-based generating units must not inject DC greater than 0.5% of the full rated output current at the point of connection of the generating units. The generated harmonic levels must not exceed those given in the CAN/CSA-C61000-3-6 Standards.

RULE CHANGE (May 19, 2010)

IN-SERIES METERING IS NO LONGER PERMITTED UNDER

THE microFIT RULES.

In-series metering is no longer permitted in the Province of Ontario. As a result, microFIT

projects may not use the in-series metering configuration shown in Figure 2b (section

3.5(b)) of these microFIT Rules. Detailed microFIT Rule amendments will follow.

IMPORTANT: All fields below are mandatory, except where noted. Incomplete applications may be returned by North Bay Hydro.

Please return the completed form by email, mail or fax to:

North Bay Hydro

74 Commerce Crescent

North Bay, ON P1B 8G4

FAX: 705 474-4634 or Email: nrussell@northbayhydro.com

Attention: Neil Russell

Customer Solutions Advisor

NOTE: Applicants are cautioned NOT to incur major expenses until North Bay Hydro approves to connect the proposed generation facility.

NOTE: North Bay Hydro will notify the City of North Bay’s Building Department about the details of this microFIT project.

The following information is required for all generators with total generation of up to 10 kW.

Date of Application:	(dd / mm / yyyy)

microFIT reference number:

- Project/Customer Name:

- HST Registration#(If applicable):

- Proposed In-Service Date:	(dd / mm / yyyy)

- Project Information:

Owner

Company/ Person:

Contact:

Mailing Address:

Telephone:

Fax:

E-mail:

Engineering Consultant (Electrical) (optional)

Company/ Person:

Contact:

Mailing Address:

Telephone:

Fax:

E-mail:

- Project Location:	Address

City/Town/Township

Lot Number(s)

Concession Number(s)

- Program Type:

- microFIT (Complete all sections)

- Customer Status:

Existing North Bay Hydro Customer?		 Yes		 No

If yes, North Bay Hydro Account Number:	                          -

Name of Account Holder*:

(*must be the same name as applicant)

- Project Size:

Number of Units

Nameplate Rating of Each Unit		                          kW

Generator connecting on		 single phase      three phase

Existing Total Nameplate Capacity	                         kW

Proposed Total Nameplate Capacity	                          kW

- Fuel Type:

Wind Turbine

Hydraulic Turbine

Solar / Photovoltaic Cells (Rooftop)

Solar / Photovoltaic Cells (Ground Mount)

Biomass

Bio-diesel

Bio-gas

Other, please specify

- Customer Owned Step-up Interface Transformer (if applicable):

    - Transformer rating                           kVA

    - High voltage winding connection		 Delta	 Star

Grounding method of star connected high voltage winding neutral

Solid	 Ungrounded		 Impedance grounded: R     X     ohms

    - Low voltage winding connection	 Delta	 Star

Grounding method of star connected low voltage winding neutral

Solid	 Ungrounded		 Impedance grounded: R     X     ohms

Note: The term ‘High Voltage’ refers to the connection voltage to North Bay Hydro’s distribution system and ‘Low Voltage’ refers to the generator / inverter output voltage.

- Generator / Inverter Information:

(For generation facilities installing more than one type of generator, complete section 10)

    - Manufacturer:

    - Model No.

    - Number of phases	  Single Phase	  Three Phase

    - Nameplate rating:		                                          kW

    - Generator / Inverter AC output voltage	      Volts

    - Type of inverter:		  Self-commutated		  Line- commutated

Other, please specify

    - Are power factor correction capacitors automatically switched off when generator breaker opens?

Yes		  No

    - Is the generator / inverter paralleling equipment and / or design pre-certified and meets anti-islanding test requirements?

Yes		  No

    - If answer to the above question is Yes, to which standard(s), e.g. CSA C22.2 No. 107.1-01, UL1741, etc.

    - Method of synchronizing the generator / inverter North Bay Hydro’s system

Manual	  Automatic

    - Maximum inrush current upon generator or inverter connection (Iinrush/ Irated)       per unit

- Grid Interface Controller (if applicable):

    - Manufacturer:

    - Model Number:

- Type of Connection:

Select the Configuration below that is appropriate for your connection to North Bay Hydro Distribution system:

Note: For further information on connections please refer to our website at: www.northbayhydro.com

    - Stand-Alone Connection  -  Net Metering Connection

    - Parallel Metering Connection

Also submit to North Bay Hydro a Single Line Diagram specific to your connection with application form.

Stand-Alone Connection - Typical Net Metering Connection

Typical Parallel Metering Connection

By submitting a Application Form, the Proponent authorizes the collection by North Bay Hydro, of the information set out in the Application Form and otherwise collected in accordance with the terms hereof, the terms of North Bay Hydro’s Conditions of Service, North Bay Hydro’s Privacy Policy and the requirements of the Distribution System Code and the use of such information for the purposes of the connection of the generation facility to North Bay Hydro’s distribution system.